## Plate 1 - Sheet1
Software Version | 3.03.14
Experiment File Path: | C:\Users\Public\Documents\Experiments\qbio project extract mg glu calibration w lin and plasmid.xpt
Protocol File Path: | C:\Users\synergy\Documents\paul\protocol CF 384.prt
Plate Number | Plate 1
Date | 2022-02-15
Time | 16:29
Reader Type: | Synergy H1
Reader Serial Number: | 18032017
Reading Type | Reader
Procedure Details
Plate Type | Corning 384 Low volume round bottom
Well Selection | Runtime
Eject plate on completion
Set Temperature | Setpoint 37°C
Preheat before moving to next step
Start Kinetic | Runtime 12:00:00 (HH:MM:SS), Interval 0:05:00, 145 Reads
Read | 100-75 gfp
Fluorescence Endpoint
Full Plate
Filter Set 1
Excitation: 485, Emission: 528
Optics: Bottom, Gain: 100
Filter Set 2
Excitation: 485, Emission: 528
Optics: Bottom, Gain: 75
Light Source: Xenon Flash, Lamp Energy: High
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 9.5 mm
Read | 70-50 gfp
Fluorescence Endpoint
Full Plate
Filter Set 1
Excitation: 485, Emission: 528
Optics: Bottom, Gain: 70
Filter Set 2
Excitation: 485, Emission: 528
Optics: Bottom, Gain: 50
Light Source: Xenon Flash, Lamp Energy: High
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 9.5 mm
End Kinetic
Set Temperature | Incubator off
Layout
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
| A | [24 empty] | Well ID
| B | [9 empty] | SPL1 | SPL2 | SPL3 |  | SPL4 | SPL5 | SPL6 | SPL7 | SPL8 | SPL9 | SPL10 | SPL11 | SPL12 | SPL13 | SPL14 | Well ID
| C | [9 empty] | SPL15 | SPL16 | SPL17 |  | SPL18 | SPL19 | SPL20 | SPL21 | SPL22 | SPL23 | SPL24 | SPL25 | SPL26 | SPL27 | SPL28 | Well ID
| D | [24 empty] | Well ID
| E | [24 empty] | Well ID
| F | [24 empty] | Well ID
| G | [24 empty] | Well ID
| H | [24 empty] | Well ID
| I | [24 empty] | Well ID
| J | [24 empty] | Well ID
| K | [24 empty] | Well ID
| L | [24 empty] | Well ID
| M | [24 empty] | Well ID
| N | [24 empty] | Well ID
| O | [24 empty] | Well ID
| P | [24 empty] | Well ID
100-75 gfp:485,528
| Time | T° 100-75 gfp:485,528 | B10 | B11 | B12 | B14 | B15 | B16 | B17 | B18 | B19 | B20 | B21 | B22 | B23 | B24 | C10 | C11 | C12 | C14 | C15 | C16 | C17 | C18 | C19 | C20 | C21 | C22 | C23 | C24
| 0:00 | 36.9 | 3659 | 2912 | 2610 | 2488 | 2317 | 2810 | 3047 | 3323 | 4616 | 4375 | 4853 | 3595 | 4118 | 3161 | 8429 | 7347 | 6396 | 6048 | 3417 | 6390 | 5202 | 4138 | 3875 | 4458 | 4327 | 3260 | 3753 | 3312
| 0:05 | 37 | 1815 | 1671 | 1608 | 1737 | 2156 | 2644 | 2872 | 3442 | 4317 | 4260 | 4665 | 3341 | 2672 | 1861 | 4281 | 3006 | 2279 | 2235 | 1850 | 2388 | 2186 | 2046 | 1987 | 1979 | 2003 | 1880 | 1911 | 1930
| 0:10 | 37 | 1648 | 1533 | 1634 | 1847 | 2679 | 3629 | 4091 | 4863 | 5900 | 6213 | 6683 | 4415 | 2629 | 1657 | 1916 | 1691 | 1612 | 1661 | 1647 | 1771 | 1759 | 1620 | 1724 | 1737 | 1720 | 1654 | 1650 | 1552
| 0:15 | 37 | 1571 | 1484 | 1607 | 2164 | 3872 | 5493 | 6444 | 7939 | 10110 | 10710 | 10965 | 6595 | 3133 | 1577 | 1528 | 1546 | 1578 | 1507 | 1582 | 1717 | 1692 | 1710 | 1721 | 1714 | 1732 | 1602 | 1482 | 1553
| 0:20 | 37 | 1416 | 1289 | 1684 | 2386 | 5139 | 8356 | 10443 | 13404 | 19652 | 20484 | 21773 | 11644 | 4563 | 1558 | 1546 | 1536 | 1489 | 1427 | 1665 | 1686 | 1893 | 1668 | 1858 | 1837 | 1821 | 1699 | 1470 | 1384
| 0:25 | 37 | 1472 | 1454 | 1895 | 2991 | 6853 | 11971 | 16973 | 21004 | 35605 | 37548 | 39352 | 20846 | 6918 | 1550 | 1485 | 1380 | 1413 | 1456 | 1716 | 1796 | 1959 | 1847 | 2116 | 2116 | 2099 | 1816 | 1614 | 1450
| 0:30 | 37 | 1396 | 1399 | 2043 | 3496 | 8633 | 15375 | 23040 | 29837 | 58509 | 60063 | 62322 | 34015 | 10568 | 1631 | 1529 | 1379 | 1440 | 1487 | 1801 | 1894 | 2234 | 1803 | 2388 | 2478 | 2431 | 2313 | 1708 | 1362
| 0:35 | 37 | 1410 | 1379 | 2234 | 3894 | 10421 | 19345 | 31069 | 39224 | 85776 | 90466 | 95274 | 52722 | 15564 | 2142 | 1505 | 1524 | 1508 | 1540 | 1920 | 2056 | 2375 | 1987 | 2824 | 3099 | 2975 | 3244 | 1947 | 1401
| 0:40 | 37 | 1419 | 1420 | 2343 | 4447 | 12044 | 22269 | 37326 | 48262 | OVRFLW | OVRFLW | OVRFLW | 75663 | 22668 | 2536 | 1466 | 1515 | 1545 | 1602 | 1931 | 2201 | 2725 | 2238 | 3269 | 4104 | 3624 | 4745 | 2600 | 1475
| 0:45 | 37 | 1447 | 1463 | 2441 | 4759 | 13263 | 26568 | 43160 | 55979 | OVRFLW | OVRFLW | OVRFLW | OVRFLW | 33768 | 2949 | 1533 | 1582 | 1629 | 1644 | 2101 | 2372 | 3092 | 2303 | 3870 | 4862 | 4657 | 6936 | 3694 | 1447
| 0:50 | 37 | 1524 | 1416 | 2574 | 5166 | 14263 | 28417 | 47814 | 60944 | OVRFLW | OVRFLW | OVRFLW | OVRFLW | 45903 | 3624 | 1514 | 1561 | 1585 | 1652 | 2175 | 2451 | 3342 | 2417 | 4144 | 5933 | 5512 | 10490 | 5473 | 1555
| 0:55 | 37 | 1505 | 1565 | 2798 | 5282 | 15316 | 30440 | 51829 | 68507 | OVRFLW | OVRFLW | OVRFLW | OVRFLW | 59487 | 3944 | 1602 | 1535 | 1543 | 1644 | 2270 | 2464 | 3534 | 2440 | 4892 | 7141 | 6361 | 14705 | 7612 | 1632
| 1:00 | 37 | 1566 | 1463 | 2836 | 5605 | 15916 | 32577 | 55077 | 73260 | OVRFLW | OVRFLW | OVRFLW | OVRFLW | 70048 | 4738 | 1557 | 1526 | 1649 | 1739 | 2331 | 2680 | 3695 | 2542 | 5240 | 8779 | 7299 | 20448 | 10751 | 1671
| 1:05 | 37 | 1580 | 1594 | 2832 | 5681 | 16279 | 33687 | 58412 | 75801 | OVRFLW | OVRFLW | OVRFLW | OVRFLW | 81364 | 5266 | 1626 | 1558 | 1583 | 1631 | 2284 | 2654 | 3867 | 2699 | 5886 | 10212 | 8189 | 26048 | 13938 | 1717
| 1:10 | 37 | 1636 | 1596 | 3039 | 5915 | 17021 | 35027 | 60422 | 80999 | OVRFLW | OVRFLW | OVRFLW | OVRFLW | 93828 | 5689 | 1699 | 1605 | 1684 | 1761 | 2429 | 2776 | 4299 | 2618 | 6097 | 11830 | 9244 | 32689 | 17859 | 1853
| 1:15 | 37 | 1618 | 1579 | 3016 | 5984 | 17538 | 36743 | 62920 | 83666 | OVRFLW | OVRFLW | OVRFLW | OVRFLW | OVRFLW | 6552 | 1708 | 1620 | 1725 | 1776 | 2509 | 2705 | 4471 | 2777 | 6932 | 14192 | 10009 | 40690 | 21520 | 1915
| 1:20 | 37 | 1638 | 1658 | 2947 | 6209 | 17851 | 37502 | 63238 | 86468 | OVRFLW | OVRFLW | OVRFLW | OVRFLW | OVRFLW | 7089 | 1763 | 1654 | 1612 | 1730 | 2554 | 2761 | 4814 | 2771 | 7655 | 15755 | 11608 | 49559 | 26493 | 2150
| 1:25 | 37 | 1615 | 1677 | 3018 | 6335 | 17422 | 38594 | 65180 | 87550 | OVRFLW | OVRFLW | OVRFLW | OVRFLW | OVRFLW | 7588 | 1719 | 1671 | 1763 | 1775 | 2511 | 2891 | 4952 | 2835 | 8372 | 17452 | 12421 | 58478 | 31496 | 2255
| 1:30 | 37 | 1722 | 1677 | 3160 | 6399 | 17909 | 38367 | 66246 | 90267 | OVRFLW | OVRFLW | OVRFLW | OVRFLW | OVRFLW | 8569 | 1774 | 1783 | 1684 | 1709 | 2512 | 2890 | 5385 | 2845 | 9147 | 19272 | 13439 | 68936 | 36361 | 2301
| 1:35 | 37 | 1595 | 1698 | 3088 | 6432 | 18394 | 39309 | 67774 | 92093 | OVRFLW | OVRFLW | OVRFLW | OVRFLW | OVRFLW | 9092 | 1691 | 1780 | 1806 | 1766 | 2562 | 2943 | 5605 | 2849 | 10178 | 21379 | 14371 | 77734 | 41086 | 2372
| 1:40 | 37 | 1689 | 1763 | 3229 | 6540 | 18075 | 41117 | 68700 | 92961 | OVRFLW | OVRFLW | OVRFLW | OVRFLW | OVRFLW | 9881 | 1807 | 1721 | 1837 | 1945 | 2647 | 2934 | 6180 | 2883 | 11009 | 23665 | 15290 | 85645 | 44624 | 2749
| 1:45 | 37 | 1681 | 1735 | 3194 | 6621 | 18535 | 41052 | 70025 | 93582 | OVRFLW | OVRFLW | OVRFLW | OVRFLW | OVRFLW | 10341 | 1852 | 1754 | 1791 | 1892 | 2700 | 3071 | 6397 | 2936 | 11809 | 25874 | 16625 | 95792 | 48814 | 2755
| 1:50 | 37 | 1697 | 1759 | 3364 | 6540 | 18699 | 41755 | 72046 | 95672 | OVRFLW | OVRFLW | OVRFLW | OVRFLW | OVRFLW | 11127 | 1884 | 1830 | 1864 | 1997 | 2697 | 3044 | 6895 | 3050 | 12859 | 27981 | 17392 | OVRFLW | 51730 | 3042
| 1:55 | 37 | 1655 | 1765 | 3346 | 6529 | 18954 | 41893 | 70747 | 96618 | OVRFLW | OVRFLW | OVRFLW | OVRFLW | OVRFLW | 11735 | 1896 | 1728 | 1861 | 1949 | 2697 | 3115 | 7319 | 3052 | 14053 | 30269 | 19307 | OVRFLW | 57073 | 3070
| 2:00 | 37 | 1702 | 1833 | 3306 | 6737 | 18893 | 41225 | 72199 | 97013 | OVRFLW | OVRFLW | OVRFLW | OVRFLW | OVRFLW | 12053 | 1992 | 1810 | 1845 | 1966 | 2667 | 3161 | 7976 | 3015 | 15305 | 31978 | 21511 | OVRFLW | 61218 | 3288
| 2:05 | 37 | 1681 | 1781 | 3490 | 6784 | 18921 | 41945 | 72135 | 97402 | OVRFLW | OVRFLW | OVRFLW | OVRFLW | OVRFLW | 12621 | 1983 | 1788 | 1922 | 1998 | 2764 | 3248 | 8305 | 3010 | 16609 | 35715 | 22916 | OVRFLW | 64711 | 3410
| 2:10 | 37 | 1703 | 1855 | 3506 | 6878 | 19351 | 42028 | 73823 | 99034 | OVRFLW | OVRFLW | OVRFLW | OVRFLW | OVRFLW | 13500 | 1945 | 1807 | 1885 | 2098 | 2771 | 3272 | 8852 | 3073 | 17715 | 37658 | 25427 | OVRFLW | 69129 | 3684
| 2:15 | 37 | 1831 | 1837 | 3476 | 6817 | 19218 | 42448 | 74010 | 98573 | OVRFLW | OVRFLW | OVRFLW | OVRFLW | OVRFLW | 13760 | 1959 | 1875 | 1920 | 2014 | 2842 | 3405 | 9632 | 3119 | 19079 | 41426 | 27339 | OVRFLW | 72919 | 3701
| 2:20 | 37 | 1701 | 1900 | 3422 | 6738 | 19303 | 42856 | 74065 | OVRFLW | OVRFLW | OVRFLW | OVRFLW | OVRFLW | OVRFLW | 14385 | 1996 | 1828 | 1951 | 2004 | 2889 | 3399 | 10227 | 3060 | 20368 | 44417 | 29081 | OVRFLW | 75828 | 3811
| 2:25 | 37 | 1791 | 2089 | 3577 | 6973 | 19356 | 42144 | 74871 | 98200 | OVRFLW | OVRFLW | OVRFLW | OVRFLW | OVRFLW | 14535 | 1972 | 1977 | 2017 | 2050 | 2801 | 3408 | 10972 | 3236 | 22344 | 46600 | 30519 | OVRFLW | 81056 | 3890
| 2:30 | 37 | 1748 | 2007 | 3628 | 6821 | 19151 | 41981 | 75023 | OVRFLW | OVRFLW | OVRFLW | OVRFLW | OVRFLW | OVRFLW | 15506 | 2077 | 1907 | 2058 | 2057 | 2956 | 3567 | 11501 | 3261 | 24246 | 50181 | 32659 | OVRFLW | 83179 | 4282
| 2:35 | 37 | 1901 | 2021 | 3611 | 6843 | 18920 | 43089 | 75128 | OVRFLW | OVRFLW | OVRFLW | OVRFLW | OVRFLW | OVRFLW | 15762 | 2099 | 1889 | 2001 | 2110 | 2966 | 3696 | 12150 | 3253 | 25647 | 54148 | 34605 | OVRFLW | 87705 | 4223
| 2:40 | 37 | 1797 | 2151 | 3692 | 6760 | 19583 | 42705 | 74895 | OVRFLW | OVRFLW | OVRFLW | OVRFLW | OVRFLW | OVRFLW | 15980 | 2020 | 1948 | 2086 | 2076 | 3030 | 3941 | 12772 | 3246 | 27172 | 57046 | 35806 | OVRFLW | 89993 | 4376
| 2:45 | 37 | 1805 | 2113 | 3642 | 6905 | 19717 | 42402 | 75583 | OVRFLW | OVRFLW | OVRFLW | OVRFLW | OVRFLW | OVRFLW | 16735 | 2083 | 1864 | 2124 | 2140 | 3065 | 3929 | 13556 | 3336 | 29174 | 59754 | 37328 | OVRFLW | 94014 | 4601
| 2:50 | 37 | 1904 | 2049 | 3800 | 6940 | 19449 | 42395 | 75915 | OVRFLW | OVRFLW | OVRFLW | OVRFLW | OVRFLW | OVRFLW | 17273 | 2217 | 1939 | 2137 | 2153 | 3005 | 4123 | 14369 | 3468 | 30804 | 63995 | 39646 | OVRFLW | 98712 | 4649
| 2:55 | 37 | 1814 | 2162 | 3793 | 6881 | 19721 | 43081 | 76042 | OVRFLW | OVRFLW | OVRFLW | OVRFLW | OVRFLW | OVRFLW | 17753 | 2167 | 1981 | 2213 | 2282 | 3156 | 4197 | 15405 | 3554 | 33140 | 67170 | 41311 | OVRFLW | OVRFLW | 4759
| 3:00 | 37 | 1910 | 2174 | 3646 | 6983 | 19687 | 43573 | 77016 | OVRFLW | OVRFLW | OVRFLW | OVRFLW | OVRFLW | OVRFLW | 18285 | 2241 | 1935 | 2374 | 2284 | 3149 | 4377 | 16201 | 3535 | 34533 | 71557 | 43328 | OVRFLW | OVRFLW | 4727
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
100-75 gfp:485,528[2]
| Time | T° 100-75 gfp:485,528[2] | B10 | B11 | B12 | B14 | B15 | B16 | B17 | B18 | B19 | B20 | B21 | B22 | B23 | B24 | C10 | C11 | C12 | C14 | C15 | C16 | C17 | C18 | C19 | C20 | C21 | C22 | C23 | C24
| 0:00 | 36.9 | 435 | 330 | 304 | 308 | 290 | 342 | 375 | 379 | 585 | 566 | 626 | 459 | 495 | 383 | 1036 | 910 | 800 | 747 | 429 | 784 | 616 | 475 | 449 | 516 | 529 | 389 | 471 | 404
| 0:05 | 37 | 226 | 209 | 211 | 218 | 261 | 342 | 370 | 438 | 534 | 543 | 620 | 426 | 332 | 216 | 501 | 351 | 265 | 282 | 244 | 294 | 274 | 253 | 239 | 247 | 261 | 241 | 218 | 222
| 0:10 | 37 | 212 | 184 | 204 | 239 | 350 | 455 | 515 | 635 | 773 | 822 | 885 | 569 | 346 | 206 | 220 | 206 | 198 | 193 | 192 | 217 | 229 | 207 | 221 | 206 | 215 | 216 | 204 | 193
| 0:15 | 37 | 212 | 167 | 198 | 282 | 467 | 709 | 827 | 1028 | 1292 | 1399 | 1446 | 838 | 413 | 196 | 199 | 189 | 184 | 208 | 217 | 205 | 228 | 219 | 216 | 226 | 219 | 197 | 188 | 179
| 0:20 | 37 | 200 | 189 | 221 | 287 | 631 | 1033 | 1369 | 1708 | 2481 | 2597 | 2705 | 1453 | 606 | 186 | 199 | 186 | 181 | 189 | 206 | 203 | 233 | 209 | 234 | 239 | 228 | 226 | 189 | 188
| 0:25 | 37 | 173 | 168 | 233 | 380 | 873 | 1507 | 2116 | 2681 | 4586 | 4732 | 4912 | 2609 | 863 | 203 | 191 | 181 | 178 | 186 | 219 | 235 | 245 | 231 | 274 | 283 | 262 | 221 | 188 | 179
| 0:30 | 37 | 193 | 161 | 269 | 455 | 1114 | 1971 | 2928 | 3741 | 7386 | 7706 | 7857 | 4278 | 1304 | 233 | 185 | 187 | 184 | 201 | 230 | 247 | 282 | 245 | 308 | 335 | 298 | 295 | 198 | 180
| 0:35 | 37 | 186 | 166 | 278 | 515 | 1366 | 2452 | 3929 | 5008 | 11051 | 11618 | 12465 | 6836 | 1992 | 249 | 199 | 171 | 182 | 197 | 250 | 278 | 319 | 266 | 378 | 412 | 359 | 422 | 254 | 181
| 0:40 | 37 | 189 | 181 | 284 | 560 | 1532 | 2970 | 4843 | 6116 | 14526 | 15930 | 17617 | 9900 | 2926 | 316 | 180 | 190 | 179 | 193 | 260 | 282 | 360 | 280 | 425 | 508 | 451 | 609 | 334 | 179
| 0:45 | 37 | 191 | 182 | 291 | 593 | 1701 | 3333 | 5562 | 7060 | 17570 | 19673 | 22618 | 12910 | 4356 | 387 | 192 | 189 | 198 | 203 | 265 | 309 | 392 | 276 | 479 | 631 | 566 | 917 | 490 | 184
| 0:50 | 37 | 191 | 176 | 347 | 659 | 1787 | 3638 | 6157 | 7920 | 20337 | 23829 | 26465 | 16258 | 5961 | 442 | 201 | 191 | 195 | 209 | 287 | 321 | 416 | 307 | 548 | 769 | 673 | 1332 | 724 | 191
| 0:55 | 37 | 180 | 184 | 344 | 644 | 1947 | 3903 | 6535 | 8708 | 23242 | 26928 | 30453 | 19612 | 7558 | 523 | 199 | 198 | 201 | 201 | 263 | 304 | 448 | 316 | 584 | 902 | 814 | 1907 | 1016 | 198
| 1:00 | 37 | 200 | 198 | 356 | 687 | 2028 | 4077 | 7004 | 9270 | 25948 | 29982 | 34662 | 22505 | 9094 | 600 | 203 | 192 | 206 | 222 | 290 | 342 | 469 | 326 | 675 | 1057 | 941 | 2598 | 1336 | 206
| 1:05 | 37 | 201 | 188 | 366 | 739 | 2068 | 4271 | 7379 | 9627 | 28014 | 33225 | 38232 | 25824 | 10317 | 672 | 218 | 186 | 205 | 228 | 293 | 330 | 504 | 326 | 732 | 1302 | 1054 | 3260 | 1775 | 223
| 1:10 | 37 | 207 | 204 | 373 | 740 | 2181 | 4477 | 7798 | 10097 | 30588 | 35265 | 42620 | 28202 | 11858 | 720 | 201 | 203 | 205 | 223 | 299 | 346 | 529 | 340 | 807 | 1522 | 1195 | 4140 | 2248 | 226
| 1:15 | 37 | 188 | 202 | 389 | 767 | 2208 | 4677 | 7926 | 10553 | 31953 | 38228 | 46233 | 31316 | 13190 | 835 | 208 | 206 | 207 | 217 | 316 | 350 | 553 | 355 | 887 | 1745 | 1339 | 5133 | 2820 | 263
| 1:20 | 37 | 195 | 206 | 391 | 777 | 2249 | 4749 | 8239 | 10833 | 33559 | 39797 | 49419 | 33698 | 14564 | 903 | 213 | 202 | 189 | 229 | 336 | 356 | 606 | 344 | 971 | 1973 | 1452 | 6357 | 3442 | 272
| 1:25 | 37 | 208 | 204 | 396 | 806 | 2250 | 4904 | 8420 | 11042 | 35026 | 41952 | 51736 | 35701 | 15811 | 1008 | 219 | 194 | 216 | 231 | 315 | 380 | 641 | 347 | 1052 | 2210 | 1601 | 7465 | 4074 | 275
| 1:30 | 37 | 199 | 216 | 401 | 808 | 2348 | 4816 | 8431 | 11465 | 36389 | 43479 | 53836 | 37718 | 17058 | 1095 | 225 | 206 | 237 | 217 | 325 | 357 | 684 | 350 | 1169 | 2434 | 1711 | 8709 | 4723 | 288
| 1:35 | 37 | 215 | 217 | 407 | 809 | 2316 | 4980 | 8704 | 11684 | 37768 | 44535 | 56350 | 39852 | 18258 | 1175 | 238 | 221 | 221 | 228 | 325 | 373 | 719 | 360 | 1280 | 2699 | 1772 | 9896 | 5202 | 325
| 1:40 | 37 | 217 | 218 | 393 | 823 | 2323 | 5108 | 8708 | 11950 | 39025 | 46381 | 57731 | 40871 | 19568 | 1247 | 239 | 201 | 227 | 238 | 336 | 363 | 756 | 369 | 1390 | 2973 | 1931 | 10882 | 5733 | 335
| 1:45 | 37 | 225 | 216 | 399 | 831 | 2380 | 5097 | 9010 | 11892 | 39819 | 47552 | 60079 | 42943 | 20449 | 1352 | 231 | 212 | 234 | 244 | 339 | 394 | 808 | 366 | 1513 | 3240 | 2101 | 12072 | 6112 | 371
| 1:50 | 37 | 223 | 223 | 423 | 833 | 2362 | 5261 | 9028 | 12075 | 41170 | 48827 | 61465 | 43937 | 21179 | 1450 | 227 | 230 | 238 | 249 | 334 | 379 | 872 | 375 | 1613 | 3561 | 2239 | 13001 | 6611 | 378
| 1:55 | 37 | 224 | 236 | 415 | 825 | 2465 | 5382 | 9212 | 12159 | 41497 | 49563 | 61776 | 46089 | 22947 | 1475 | 246 | 227 | 228 | 235 | 352 | 402 | 929 | 377 | 1767 | 3853 | 2490 | 13904 | 7149 | 394
| 2:00 | 37 | 219 | 223 | 417 | 839 | 2420 | 5205 | 9070 | 12281 | 42535 | 50705 | 63554 | 47519 | 23768 | 1588 | 239 | 235 | 238 | 252 | 360 | 401 | 992 | 374 | 1945 | 4169 | 2694 | 15206 | 7702 | 414
| 2:05 | 37 | 226 | 230 | 426 | 846 | 2431 | 5298 | 9259 | 12496 | 43303 | 50985 | 64995 | 49143 | 24202 | 1597 | 237 | 223 | 258 | 260 | 347 | 413 | 1079 | 391 | 2063 | 4458 | 2920 | 16337 | 8288 | 415
| 2:10 | 37 | 229 | 248 | 439 | 872 | 2438 | 5378 | 9400 | 12458 | 43540 | 52215 | 65691 | 50083 | 25104 | 1720 | 260 | 223 | 249 | 241 | 352 | 384 | 1127 | 381 | 2259 | 4830 | 3217 | 17418 | 8756 | 453
| 2:15 | 37 | 217 | 242 | 426 | 855 | 2426 | 5356 | 9335 | 12389 | 44700 | 53591 | 66544 | 51202 | 25658 | 1738 | 248 | 218 | 247 | 264 | 358 | 426 | 1230 | 401 | 2418 | 5248 | 3459 | 18446 | 9166 | 465
| 2:20 | 37 | 223 | 240 | 431 | 867 | 2446 | 5356 | 9363 | 12912 | 44774 | 54617 | 68120 | 51940 | 26749 | 1870 | 257 | 227 | 248 | 240 | 363 | 415 | 1288 | 402 | 2632 | 5537 | 3672 | 19427 | 9624 | 495
| 2:25 | 37 | 230 | 234 | 435 | 856 | 2461 | 5338 | 9574 | 12748 | 45848 | 55061 | 69478 | 52650 | 27773 | 1902 | 249 | 243 | 258 | 255 | 377 | 433 | 1403 | 390 | 2814 | 5988 | 3901 | 20009 | 10178 | 490
| 2:30 | 37 | 217 | 249 | 436 | 871 | 2481 | 5425 | 9399 | 12901 | 47028 | 55719 | 70320 | 54484 | 27703 | 1989 | 252 | 234 | 263 | 257 | 369 | 447 | 1444 | 410 | 3116 | 6423 | 4144 | 21408 | 10652 | 530
| 2:35 | 37 | 224 | 249 | 454 | 857 | 2431 | 5454 | 9418 | 13121 | 47067 | 56945 | 71305 | 54120 | 28666 | 2057 | 254 | 226 | 256 | 254 | 368 | 461 | 1516 | 408 | 3177 | 6809 | 4297 | 22380 | 11195 | 528
| 2:40 | 37 | 225 | 259 | 455 | 855 | 2497 | 5449 | 9581 | 13106 | 47738 | 56896 | 72169 | 56127 | 29231 | 2084 | 267 | 236 | 252 | 264 | 376 | 489 | 1659 | 406 | 3521 | 7131 | 4554 | 23067 | 11685 | 550
| 2:45 | 37 | 234 | 269 | 444 | 890 | 2448 | 5503 | 9502 | 13286 | 48423 | 57654 | 72329 | 56620 | 29928 | 2148 | 245 | 232 | 279 | 279 | 375 | 496 | 1765 | 412 | 3685 | 7606 | 4835 | 24098 | 11852 | 568
| 2:50 | 37 | 245 | 281 | 445 | 879 | 2512 | 5483 | 9670 | 13501 | 48322 | 58362 | 74380 | 56865 | 30498 | 2178 | 269 | 241 | 272 | 274 | 386 | 534 | 1863 | 430 | 3985 | 8166 | 5087 | 25079 | 12351 | 594
| 2:55 | 37 | 227 | 262 | 456 | 889 | 2466 | 5481 | 9818 | 13226 | 49166 | 58837 | 74771 | 57929 | 31035 | 2271 | 278 | 240 | 273 | 284 | 396 | 529 | 1926 | 436 | 4214 | 8514 | 5314 | 25863 | 12552 | 610
| 3:00 | 37 | 230 | 273 | 454 | 896 | 2510 | 5618 | 9713 | 13445 | 50047 | 59922 | 75313 | 57647 | 31449 | 2314 | 287 | 262 | 285 | 274 | 379 | 591 | 2035 | 458 | 4436 | 9139 | 5481 | 26488 | 12830 | 610
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
70-50 gfp:485,528
| Time | T° 70-50 gfp:485,528 | B10 | B11 | B12 | B14 | B15 | B16 | B17 | B18 | B19 | B20 | B21 | B22 | B23 | B24 | C10 | C11 | C12 | C14 | C15 | C16 | C17 | C18 | C19 | C20 | C21 | C22 | C23 | C24
| 0:01 | 37 | 246 | 204 | 187 | 174 | 164 | 209 | 226 | 228 | 348 | 336 | 356 | 269 | 296 | 225 | 626 | 541 | 443 | 420 | 242 | 463 | 358 | 299 | 264 | 318 | 310 | 230 | 285 | 227
| 0:06 | 37 | 132 | 124 | 132 | 134 | 172 | 196 | 230 | 259 | 344 | 348 | 368 | 265 | 211 | 149 | 286 | 202 | 149 | 157 | 145 | 174 | 151 | 148 | 140 | 150 | 145 | 142 | 149 | 145
| 0:11 | 37 | 133 | 121 | 128 | 152 | 221 | 274 | 342 | 412 | 462 | 494 | 551 | 362 | 222 | 130 | 148 | 125 | 122 | 117 | 137 | 135 | 144 | 124 | 135 | 139 | 133 | 130 | 114 | 112
| 0:16 | 37 | 127 | 112 | 128 | 167 | 291 | 439 | 523 | 638 | 821 | 855 | 894 | 535 | 245 | 110 | 123 | 116 | 119 | 124 | 112 | 128 | 148 | 129 | 143 | 124 | 129 | 125 | 121 | 119
| 0:21 | 37 | 118 | 109 | 146 | 202 | 388 | 651 | 862 | 1051 | 1566 | 1610 | 1685 | 884 | 370 | 120 | 112 | 110 | 121 | 119 | 124 | 134 | 140 | 130 | 146 | 156 | 134 | 122 | 124 | 105
| 0:26 | 37 | 112 | 108 | 154 | 226 | 531 | 926 | 1287 | 1678 | 2879 | 2971 | 3049 | 1597 | 527 | 125 | 112 | 113 | 104 | 115 | 128 | 148 | 155 | 138 | 174 | 169 | 164 | 144 | 117 | 108
| 0:31 | 37 | 114 | 96 | 168 | 263 | 707 | 1227 | 1812 | 2312 | 4507 | 4791 | 4953 | 2741 | 828 | 138 | 122 | 111 | 114 | 124 | 127 | 146 | 174 | 155 | 193 | 208 | 166 | 176 | 129 | 106
| 0:36 | 37 | 120 | 118 | 180 | 314 | 842 | 1507 | 2449 | 3109 | 6896 | 7326 | 7763 | 4285 | 1276 | 165 | 114 | 104 | 121 | 110 | 146 | 170 | 193 | 162 | 233 | 255 | 227 | 267 | 160 | 111
| 0:41 | 37 | 123 | 107 | 180 | 355 | 953 | 1817 | 3002 | 3828 | 8826 | 9905 | 10997 | 6101 | 1867 | 212 | 128 | 111 | 113 | 123 | 166 | 169 | 220 | 172 | 274 | 307 | 285 | 379 | 225 | 113
| 0:46 | 36.9 | 114 | 118 | 199 | 368 | 1031 | 2068 | 3435 | 4425 | 10758 | 12294 | 13798 | 8180 | 2726 | 247 | 118 | 118 | 103 | 128 | 167 | 176 | 245 | 187 | 301 | 386 | 353 | 574 | 301 | 113
| 0:51 | 37 | 113 | 123 | 200 | 387 | 1135 | 2262 | 3754 | 4844 | 12599 | 14405 | 16095 | 10166 | 3692 | 281 | 135 | 113 | 119 | 129 | 160 | 185 | 255 | 180 | 338 | 480 | 422 | 837 | 451 | 109
| 0:56 | 37 | 116 | 109 | 209 | 418 | 1184 | 2369 | 4047 | 5297 | 14588 | 16742 | 18436 | 11926 | 4721 | 320 | 124 | 105 | 124 | 130 | 165 | 195 | 272 | 188 | 379 | 557 | 496 | 1163 | 654 | 119
| 1:01 | 37 | 111 | 107 | 211 | 430 | 1242 | 2525 | 4318 | 5645 | 16094 | 18498 | 21208 | 13838 | 5577 | 369 | 128 | 125 | 120 | 123 | 173 | 210 | 286 | 187 | 410 | 664 | 566 | 1623 | 850 | 127
| 1:06 | 37 | 114 | 125 | 223 | 449 | 1272 | 2635 | 4510 | 6028 | 17289 | 20074 | 23844 | 15803 | 6376 | 407 | 130 | 106 | 124 | 127 | 169 | 199 | 321 | 202 | 438 | 808 | 643 | 2051 | 1098 | 135
| 1:11 | 37 | 127 | 125 | 220 | 464 | 1324 | 2705 | 4765 | 6203 | 18628 | 22207 | 26049 | 17552 | 7240 | 471 | 128 | 128 | 125 | 122 | 182 | 208 | 334 | 213 | 500 | 951 | 721 | 2612 | 1416 | 141
| 1:16 | 37 | 123 | 110 | 231 | 468 | 1368 | 2861 | 4888 | 6521 | 19699 | 23250 | 28432 | 19112 | 8135 | 511 | 120 | 136 | 140 | 140 | 201 | 216 | 344 | 207 | 526 | 1093 | 830 | 3238 | 1799 | 156
| 1:21 | 37 | 116 | 123 | 251 | 474 | 1388 | 2875 | 4893 | 6711 | 20660 | 24437 | 30480 | 20742 | 8977 | 571 | 125 | 128 | 139 | 122 | 193 | 211 | 376 | 221 | 585 | 1235 | 875 | 3803 | 2133 | 166
| 1:26 | 37 | 117 | 123 | 238 | 506 | 1359 | 2972 | 5227 | 6794 | 22035 | 25278 | 32181 | 22366 | 9703 | 628 | 135 | 121 | 134 | 143 | 193 | 225 | 411 | 199 | 656 | 1368 | 955 | 4667 | 2588 | 178
| 1:31 | 37 | 122 | 120 | 251 | 512 | 1414 | 3104 | 5275 | 7182 | 22486 | 26633 | 33654 | 23291 | 10477 | 664 | 134 | 142 | 120 | 131 | 205 | 228 | 421 | 225 | 722 | 1486 | 1048 | 5399 | 2845 | 180
| 1:36 | 37 | 126 | 127 | 242 | 496 | 1451 | 3121 | 5311 | 7174 | 23551 | 28076 | 34163 | 25037 | 11266 | 716 | 142 | 129 | 140 | 140 | 211 | 219 | 445 | 224 | 788 | 1676 | 1115 | 6154 | 3294 | 198
| 1:41 | 37 | 136 | 127 | 241 | 500 | 1434 | 3142 | 5420 | 7209 | 23973 | 28588 | 35026 | 25414 | 12001 | 770 | 156 | 141 | 134 | 148 | 197 | 242 | 459 | 214 | 862 | 1826 | 1186 | 6770 | 3539 | 197
| 1:46 | 37 | 129 | 133 | 251 | 501 | 1435 | 3109 | 5412 | 7386 | 24622 | 29022 | 36775 | 27020 | 12542 | 816 | 136 | 124 | 140 | 148 | 206 | 243 | 517 | 230 | 941 | 2000 | 1290 | 7466 | 3745 | 224
| 1:51 | 37 | 122 | 135 | 254 | 520 | 1488 | 3169 | 5553 | 7409 | 24953 | 30061 | 37326 | 27655 | 13251 | 868 | 146 | 133 | 149 | 143 | 201 | 235 | 533 | 224 | 1014 | 2208 | 1360 | 8156 | 4008 | 236
| 1:56 | 37 | 134 | 130 | 267 | 507 | 1445 | 3265 | 5495 | 7579 | 25890 | 30633 | 38287 | 28550 | 13911 | 895 | 157 | 143 | 140 | 157 | 215 | 247 | 571 | 230 | 1083 | 2351 | 1508 | 8577 | 4396 | 250
| 2:01 | 37 | 135 | 136 | 260 | 523 | 1472 | 3295 | 5660 | 7591 | 26352 | 30941 | 39238 | 29135 | 14438 | 937 | 156 | 143 | 151 | 150 | 203 | 251 | 621 | 235 | 1180 | 2523 | 1658 | 9552 | 4641 | 254
| 2:06 | 37 | 132 | 140 | 262 | 533 | 1492 | 3284 | 5632 | 7566 | 26610 | 31563 | 39663 | 29506 | 15207 | 991 | 143 | 142 | 145 | 161 | 215 | 257 | 654 | 242 | 1283 | 2765 | 1844 | 10141 | 5061 | 259
| 2:11 | 37 | 147 | 143 | 252 | 521 | 1498 | 3270 | 5642 | 7752 | 27193 | 31806 | 40007 | 30793 | 15373 | 1029 | 154 | 143 | 150 | 163 | 213 | 257 | 699 | 242 | 1385 | 2994 | 1948 | 10932 | 5410 | 270
| 2:16 | 37 | 142 | 147 | 274 | 533 | 1488 | 3246 | 5662 | 7722 | 27552 | 33148 | 41320 | 31443 | 15881 | 1069 | 156 | 136 | 153 | 156 | 209 | 257 | 772 | 242 | 1519 | 3238 | 2136 | 11259 | 5744 | 288
| 2:21 | 37 | 139 | 157 | 276 | 543 | 1503 | 3311 | 5741 | 7774 | 27768 | 33341 | 41951 | 32006 | 16316 | 1144 | 161 | 149 | 148 | 154 | 224 | 275 | 804 | 237 | 1606 | 3432 | 2271 | 11975 | 5967 | 295
| 2:26 | 37 | 146 | 149 | 262 | 543 | 1514 | 3346 | 5841 | 7798 | 28401 | 33916 | 42429 | 32521 | 16757 | 1156 | 167 | 137 | 156 | 154 | 216 | 277 | 864 | 240 | 1743 | 3670 | 2450 | 12382 | 6183 | 306
| 2:31 | 37 | 143 | 150 | 268 | 539 | 1501 | 3315 | 5813 | 7890 | 28337 | 34104 | 43043 | 33519 | 17154 | 1188 | 164 | 150 | 155 | 153 | 216 | 281 | 896 | 245 | 1888 | 3946 | 2542 | 13064 | 6597 | 330
| 2:36 | 37 | 138 | 160 | 286 | 532 | 1528 | 3252 | 5803 | 8004 | 28664 | 34821 | 43514 | 34093 | 17410 | 1243 | 161 | 153 | 156 | 177 | 238 | 278 | 966 | 258 | 1966 | 4152 | 2661 | 13856 | 6712 | 335
| 2:41 | 37 | 123 | 154 | 274 | 548 | 1528 | 3325 | 5844 | 7921 | 29314 | 34853 | 44271 | 34535 | 17813 | 1288 | 162 | 142 | 158 | 167 | 228 | 300 | 1014 | 248 | 2126 | 4536 | 2797 | 14381 | 7143 | 346
| 2:46 | 37 | 146 | 156 | 283 | 538 | 1490 | 3343 | 5790 | 8282 | 29732 | 35569 | 45083 | 34666 | 18360 | 1317 | 165 | 143 | 172 | 171 | 227 | 307 | 1065 | 263 | 2260 | 4736 | 2948 | 14645 | 7316 | 353
| 2:51 | 37 | 145 | 151 | 265 | 530 | 1503 | 3341 | 5956 | 8158 | 29841 | 36098 | 45431 | 35532 | 18713 | 1358 | 155 | 140 | 164 | 170 | 232 | 311 | 1140 | 268 | 2412 | 5038 | 3137 | 15374 | 7498 | 357
| 2:56 | 37 | 150 | 165 | 282 | 544 | 1534 | 3350 | 5984 | 8297 | 30686 | 36327 | 46189 | 35110 | 18966 | 1377 | 169 | 148 | 162 | 172 | 232 | 346 | 1184 | 275 | 2558 | 5340 | 3275 | 15846 | 7740 | 367
| 3:01 | 37 | 145 | 170 | 275 | 547 | 1529 | 3396 | 6020 | 8320 | 30722 | 36732 | 45988 | 35859 | 19480 | 1388 | 168 | 148 | 158 | 176 | 234 | 367 | 1266 | 271 | 2692 | 5632 | 3416 | 16359 | 7936 | 383
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
70-50 gfp:485,528[2]
| Time | T° 70-50 gfp:485,528[2] | B10 | B11 | B12 | B14 | B15 | B16 | B17 | B18 | B19 | B20 | B21 | B22 | B23 | B24 | C10 | C11 | C12 | C14 | C15 | C16 | C17 | C18 | C19 | C20 | C21 | C22 | C23 | C24
| 0:01 | 37 | 22 | 18 | 11 | 22 | 17 | 23 | 15 | 15 | 28 | 28 | 26 | 18 | 17 | 15 | 51 | 52 | 35 | 40 | 27 | 45 | 33 | 23 | 18 | 36 | 16 | 22 | 17 | 29
| 0:06 | 37 | 10 | 10 | 5 | 12 | 13 | 29 | 23 | 28 | 34 | 31 | 36 | 12 | 26 | 7 | 33 | 16 | 11 | 16 | 8 | 19 | 4 | 10 | 13 | 14 | 13 | 12 | 14 | 13
| 0:11 | 37 | 14 | 11 | 9 | 17 | 21 | 23 | 31 | 27 | 38 | 46 | 50 | 28 | 12 | 8 | 12 | 19 | 15 | 6 | 10 | 10 | 8 | 13 | 12 | 9 | 15 | 7 | 6 | 20
| 0:16 | 37 | 17 | 6 | 0 | 18 | 32 | 37 | 45 | 62 | 78 | 79 | 83 | 35 | 21 | 14 | 10 | 4 | 2 | 13 | 6 | 15 | 0 | 15 | 6 | 13 | 6 | 11 | 23 | 11
| 0:21 | 37 | 15 | 0 | 1 | 12 | 43 | 65 | 77 | 96 | 154 | 159 | 157 | 74 | 28 | 10 | 18 | 4 | 8 | 12 | 12 | 14 | 17 | 3 | 10 | 8 | 12 | 13 | 16 | 11
| 0:26 | 37 | 0 | 16 | 9 | 18 | 53 | 80 | 124 | 158 | 259 | 269 | 273 | 141 | 49 | 4 | 8 | 8 | 13 | 5 | 10 | 11 | 14 | 9 | 17 | 11 | 14 | 20 | 5 | 6
| 0:31 | 37 | 8 | 13 | 11 | 34 | 57 | 112 | 170 | 215 | 416 | 437 | 464 | 249 | 64 | 6 | 15 | 13 | 7 | 15 | 12 | 19 | 19 | 2 | 19 | 18 | 28 | 4 | 15 | 18
| 0:36 | 37 | 6 | 12 | 23 | 25 | 69 | 122 | 226 | 275 | 611 | 666 | 707 | 386 | 119 | 11 | 16 | 0 | 2 | 0 | 14 | 19 | 17 | 18 | 16 | 18 | 25 | 27 | 2 | 12
| 0:41 | 37 | 7 | 20 | 17 | 23 | 84 | 164 | 262 | 333 | 799 | 887 | 995 | 559 | 176 | 25 | 12 | 7 | 12 | 5 | 9 | 17 | 15 | 24 | 23 | 28 | 36 | 40 | 25 | 6
| 0:46 | 36.9 | 14 | 8 | 14 | 38 | 98 | 187 | 312 | 393 | 970 | 1098 | 1245 | 732 | 245 | 29 | 11 | 3 | 14 | 9 | 25 | 16 | 32 | 15 | 9 | 36 | 27 | 56 | 29 | 15
| 0:51 | 37 | 7 | 2 | 22 | 41 | 112 | 196 | 343 | 415 | 1143 | 1293 | 1470 | 917 | 337 | 21 | 1 | 16 | 0 | 6 | 13 | 21 | 21 | 9 | 30 | 35 | 32 | 94 | 41 | 1
| 0:56 | 37 | 5 | 15 | 24 | 37 | 107 | 220 | 356 | 480 | 1294 | 1501 | 1677 | 1088 | 421 | 27 | 12 | 7 | 15 | 6 | 14 | 12 | 25 | 18 | 32 | 44 | 44 | 106 | 60 | 11
| 1:01 | 37 | 13 | 8 | 11 | 38 | 113 | 227 | 376 | 508 | 1423 | 1659 | 1876 | 1247 | 492 | 39 | 13 | 16 | 7 | 5 | 7 | 25 | 23 | 4 | 34 | 68 | 52 | 131 | 70 | 5
| 1:06 | 37 | 8 | 2 | 7 | 37 | 116 | 234 | 417 | 531 | 1567 | 1816 | 2124 | 1430 | 579 | 35 | 21 | 0 | 24 | 1 | 19 | 15 | 27 | 23 | 43 | 73 | 56 | 199 | 106 | 12
| 1:11 | 37 | 5 | 10 | 28 | 41 | 114 | 242 | 420 | 561 | 1672 | 1941 | 2334 | 1588 | 646 | 48 | 11 | 20 | 13 | 13 | 18 | 18 | 30 | 21 | 46 | 84 | 69 | 241 | 123 | 16
| 1:16 | 37 | 7 | 16 | 14 | 35 | 127 | 251 | 444 | 574 | 1775 | 2097 | 2561 | 1699 | 737 | 47 | 14 | 9 | 22 | 16 | 11 | 29 | 35 | 28 | 50 | 98 | 76 | 292 | 152 | 10
| 1:21 | 37 | 13 | 11 | 23 | 41 | 131 | 275 | 448 | 608 | 1863 | 2208 | 2701 | 1867 | 802 | 49 | 25 | 14 | 0 | 6 | 12 | 23 | 33 | 15 | 56 | 108 | 85 | 364 | 192 | 8
| 1:26 | 37 | 8 | 13 | 25 | 46 | 127 | 262 | 461 | 613 | 1924 | 2317 | 2852 | 1976 | 887 | 61 | 23 | 8 | 8 | 16 | 17 | 18 | 34 | 12 | 57 | 123 | 90 | 422 | 228 | 5
| 1:31 | 37 | 7 | 3 | 17 | 40 | 129 | 280 | 482 | 645 | 2039 | 2373 | 2976 | 2080 | 940 | 66 | 16 | 16 | 22 | 4 | 23 | 17 | 32 | 14 | 62 | 133 | 95 | 489 | 265 | 14
| 1:36 | 37 | 9 | 18 | 24 | 43 | 125 | 279 | 477 | 635 | 2067 | 2479 | 3053 | 2199 | 1002 | 68 | 19 | 18 | 3 | 12 | 11 | 30 | 39 | 33 | 67 | 149 | 100 | 552 | 299 | 18
| 1:41 | 37 | 9 | 20 | 24 | 47 | 127 | 282 | 485 | 647 | 2140 | 2551 | 3205 | 2298 | 1060 | 62 | 15 | 10 | 12 | 17 | 15 | 10 | 49 | 24 | 79 | 176 | 104 | 615 | 318 | 17
| 1:46 | 37 | 13 | 12 | 34 | 45 | 130 | 275 | 481 | 649 | 2198 | 2626 | 3207 | 2384 | 1113 | 72 | 11 | 11 | 20 | 6 | 25 | 24 | 47 | 21 | 90 | 178 | 117 | 680 | 339 | 17
| 1:51 | 37 | 8 | 10 | 23 | 49 | 134 | 286 | 488 | 674 | 2258 | 2669 | 3340 | 2490 | 1187 | 79 | 9 | 21 | 6 | 16 | 13 | 16 | 52 | 22 | 97 | 201 | 131 | 740 | 372 | 25
| 1:56 | 37 | 8 | 9 | 26 | 52 | 129 | 283 | 495 | 663 | 2241 | 2725 | 3453 | 2549 | 1252 | 86 | 17 | 7 | 8 | 19 | 17 | 22 | 49 | 25 | 106 | 207 | 140 | 776 | 396 | 26
| 2:01 | 37 | 10 | 9 | 33 | 47 | 132 | 281 | 497 | 671 | 2309 | 2793 | 3521 | 2567 | 1307 | 89 | 19 | 13 | 12 | 23 | 13 | 22 | 53 | 6 | 108 | 227 | 152 | 855 | 429 | 21
| 2:06 | 37 | 6 | 18 | 26 | 47 | 118 | 290 | 508 | 688 | 2366 | 2836 | 3561 | 2700 | 1343 | 92 | 13 | 15 | 11 | 14 | 12 | 29 | 74 | 17 | 102 | 256 | 166 | 888 | 460 | 31
| 2:11 | 37 | 13 | 13 | 25 | 45 | 137 | 292 | 508 | 701 | 2413 | 2871 | 3634 | 2750 | 1389 | 90 | 9 | 8 | 9 | 19 | 24 | 27 | 72 | 19 | 134 | 278 | 178 | 957 | 481 | 23
| 2:16 | 37 | 9 | 15 | 21 | 53 | 128 | 287 | 517 | 698 | 2447 | 2935 | 3723 | 2841 | 1436 | 104 | 10 | 14 | 10 | 12 | 14 | 31 | 67 | 22 | 129 | 281 | 190 | 1022 | 507 | 29
| 2:21 | 37 | 20 | 14 | 13 | 45 | 141 | 285 | 511 | 681 | 2478 | 2967 | 3702 | 2863 | 1462 | 100 | 15 | 3 | 10 | 21 | 19 | 26 | 69 | 21 | 135 | 298 | 200 | 1068 | 542 | 34
| 2:26 | 37 | 12 | 9 | 21 | 53 | 128 | 286 | 512 | 712 | 2530 | 3026 | 3837 | 2909 | 1503 | 112 | 11 | 14 | 16 | 27 | 15 | 28 | 74 | 29 | 169 | 332 | 221 | 1125 | 561 | 24
| 2:31 | 37 | 15 | 10 | 19 | 38 | 135 | 296 | 516 | 722 | 2569 | 3027 | 3863 | 2980 | 1559 | 112 | 7 | 12 | 12 | 20 | 14 | 22 | 97 | 19 | 157 | 355 | 232 | 1194 | 593 | 32
| 2:36 | 37 | 13 | 10 | 29 | 53 | 135 | 291 | 520 | 720 | 2562 | 3104 | 3919 | 3007 | 1580 | 112 | 12 | 0 | 17 | 14 | 22 | 27 | 94 | 24 | 180 | 367 | 232 | 1243 | 603 | 37
| 2:41 | 37 | 11 | 29 | 21 | 49 | 131 | 299 | 520 | 710 | 2649 | 3131 | 3910 | 3043 | 1598 | 124 | 10 | 19 | 19 | 13 | 30 | 21 | 90 | 22 | 200 | 395 | 250 | 1271 | 610 | 35
| 2:46 | 37 | 19 | 23 | 20 | 52 | 122 | 296 | 526 | 726 | 2651 | 3203 | 3968 | 3110 | 1674 | 117 | 13 | 13 | 14 | 12 | 22 | 36 | 95 | 28 | 213 | 426 | 259 | 1327 | 660 | 21
| 2:51 | 37 | 9 | 17 | 27 | 54 | 138 | 305 | 522 | 735 | 2677 | 3218 | 4085 | 3131 | 1650 | 119 | 18 | 14 | 17 | 9 | 21 | 30 | 108 | 26 | 213 | 434 | 272 | 1363 | 679 | 33
| 2:56 | 37 | 13 | 5 | 22 | 50 | 137 | 290 | 544 | 734 | 2669 | 3243 | 4085 | 3109 | 1672 | 123 | 23 | 15 | 16 | 9 | 16 | 37 | 111 | 31 | 235 | 459 | 289 | 1423 | 700 | 31
| 3:01 | 37 | 15 | 21 | 33 | 52 | 142 | 309 | 543 | 735 | 2738 | 3288 | 4086 | 3204 | 1702 | 132 | 7 | 14 | 18 | 16 | 15 | 31 | 114 | 23 | 239 | 507 | 314 | 1441 | 718 | 44
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
| 0:00 | 0
Results
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
| A | [24 empty] | Max V [100-75 gfp:485,528]
R-Squared [100-75 gfp:485,528]
t at Max V [100-75 gfp:485,528]
Lagtime [100-75 gfp:485,528]
Max V [100-75 gfp:485,528[2]]
R-Squared [100-75 gfp:485,528[2]]
t at Max V [100-75 gfp:485,528[2]]
Lagtime [100-75 gfp:485,528[2]]
Max V [70-50 gfp:485,528]
R-Squared [70-50 gfp:485,528]
t at Max V [70-50 gfp:485,528]
Lagtime [70-50 gfp:485,528]
Max V [70-50 gfp:485,528[2]]
R-Squared [70-50 gfp:485,528[2]]
t at Max V [70-50 gfp:485,528[2]]
Lagtime [70-50 gfp:485,528[2]]
| B | 10: -368800; 11: -248200; 12: -200400; 14: -150200; 15: 357600; 16: 859800; 17: 1605800; 18: 1877400; 19: 5453400; 20: 6080600; 21: 6590400; 22: 4588200; 23: 2716800; 24: -260000 | Max V [100-75 gfp:485,528]
R-Squared [100-75 gfp:485,528] | bar: 10 to 12; 14 to 24
|  | 10: 0:02; 11: 0:02; 12: 0:02; 14: 0:02; 15: 0:32; 16: 0:43; 17: 0:32; 18: 0:32; 19: 0:32; 20: 0:32; 21: 0:32; 22: 0:38; 23: 0:52; 24: 0:02 | t at Max V [100-75 gfp:485,528]
|  | 10: 0:00; 11: 0:00; 12: 0:00; 14: 0:00; 15: 0:12; 16: 0:17; 17: 0:18; 18: 0:16; 19: 0:20; 20: 0:21; 21: 0:21; 22: 0:24; 23: 0:35; 24: 0:00 | Lagtime [100-75 gfp:485,528]
|  | 10: -41800; 11: -24200; 12: -18600; 14: 18600; 15: 50400; 16: 103600; 17: 200200; 18: 253400; 19: 733000; 20: 862400; 21: 1030400; 22: 670800; 23: 353600; 24: -33400 | Max V [100-75 gfp:485,528[2]]
R-Squared [100-75 gfp:485,528[2]] | bar: 10 to 12; 14 to 24
|  | 10: 0:03; 11: 0:03; 12: 0:03; 14: 0:23; 15: 0:33; 16: 0:38; 17: 0:33; 18: 0:33; 19: 0:33; 20: 0:38; 21: 0:38; 22: 0:53; 23: 1:53; 24: 0:03 | t at Max V [100-75 gfp:485,528[2]]
|  | 10: 0:00; 11: 0:00; 12: 0:00; 14: 0:21; 15: 0:14; 16: 0:15; 17: 0:18; 18: 0:17; 19: 0:21; 20: 0:22; 21: 0:24; 22: 0:27; 23: 0:52; 24: 0:00 | Lagtime [100-75 gfp:485,528[2]]
|  | 10: -22800; 11: -16000; 12: -11000; 14: 10200; 15: 35200; 16: 62000; 17: 127400; 18: 159400; 19: 477800; 20: 515800; 21: 646800; 22: 415800; 23: 205800; 24: -15200 | Max V [70-50 gfp:485,528]
R-Squared [70-50 gfp:485,528] | bar: 10 to 12; 14 to 24
|  | 10: 0:03; 11: 0:03; 12: 0:03; 14: 0:33; 15: 0:28; 16: 0:38; 17: 0:33; 18: 0:33; 19: 0:33; 20: 0:38; 21: 0:38; 22: 0:43; 23: 0:53; 24: 0:03 | t at Max V [70-50 gfp:485,528]
|  | 10: 0:01; 11: 0:01; 12: 0:01; 14: 0:22; 15: 0:15; 16: 0:15; 17: 0:18; 18: 0:17; 19: 0:22; 20: 0:22; 21: 0:24; 22: 0:26; 23: 0:34; 24: 0:01 | Lagtime [70-50 gfp:485,528]
|  | 10: -3000; 11: 3800; 12: 4200; 14: 3200; 15: 3800; 16: 8400; 17: 11200; 18: 13000; 19: 39000; 20: 45800; 21: 57600; 22: 37000; 23: 18400; 24: 2800 | Max V [70-50 gfp:485,528[2]]
R-Squared [70-50 gfp:485,528[2]] | bar: 10 to 12; 14 to 24
|  | 10: 0:23; 11: 2:38; 12: 1:08; 14: 0:28; 15: 2:08; 16: 0:38; 17: 0:33; 18: 0:53; 19: 0:33; 20: 0:33; 21: 0:38; 22: 0:48; 23: 0:48; 24: 0:38 | t at Max V [70-50 gfp:485,528[2]]
|  | 10: 0:18; 11: 2:38; 12: 1:07; 14: 0:27; 15: 1:39; 16: 0:24; 17: 0:17; 18: 0:20; 19: 0:21; 20: 0:22; 21: 0:24; 22: 0:27; 23: 0:33; 24: 0:37 | Lagtime [70-50 gfp:485,528[2]]
| C | 10: -829600; 11: -868200; 12: -823400; 14: -762600; 15: -313400; 16: -800400; 17: -603200; 18: -418400; 19: 467200; 20: 877400; 21: 502200; 22: 2091600; 23: 1068600; 24: -276400 | Max V [100-75 gfp:485,528]
R-Squared [100-75 gfp:485,528] | bar: 10 to 12; 14 to 24
|  | 10: 0:02; 11: 0:02; 12: 0:02; 14: 0:02; 15: 0:02; 16: 0:02; 17: 0:02; 18: 0:02; 19: 2:52; 20: 2:58; 21: 2:08; 22: 1:28; 23: 1:52; 24: 0:02 | t at Max V [100-75 gfp:485,528]
|  | 10: 0:00; 11: 0:00; 12: 0:00; 14: 0:00; 15: 0:00; 16: 0:00; 17: 0:00; 18: 0:00; 19: 1:52; 20: 1:44; 21: 1:28; 22: 0:59; 23: 1:05; 24: 0:00 | Lagtime [100-75 gfp:485,528]
|  | 10: -107000; 11: -111800; 12: -107000; 14: -93000; 15: -37000; 16: -98000; 17: -68400; 18: -44400; 19: 68800; 20: 125000; 21: 59400; 22: 279800; 23: 129800; 24: -36400 | Max V [100-75 gfp:485,528[2]]
R-Squared [100-75 gfp:485,528[2]] | bar: 10 to 12; 14 to 24
|  | 10: 0:03; 11: 0:03; 12: 0:03; 14: 0:03; 15: 0:03; 16: 0:03; 17: 0:03; 18: 0:03; 19: 2:38; 20: 2:58; 21: 2:08; 22: 2:28; 23: 1:28; 24: 0:03 | t at Max V [100-75 gfp:485,528[2]]
|  | 10: 0:00; 11: 0:00; 12: 0:00; 14: 0:00; 15: 0:00; 16: 0:00; 17: 0:00; 18: 0:00; 19: 1:56; 20: 1:51; 21: 1:25; 22: 1:15; 23: 0:58; 24: 0:00 | Lagtime [100-75 gfp:485,528[2]]
|  | 10: -68000; 11: -67800; 12: -58800; 14: -52600; 15: -19400; 16: -57800; 17: -41400; 18: -30200; 19: 32000; 20: 76800; 21: 37800; 22: 195000; 23: 91000; 24: -16400 | Max V [70-50 gfp:485,528]
R-Squared [70-50 gfp:485,528] | bar: 10 to 12; 14 to 24
|  | 10: 0:03; 11: 0:03; 12: 0:03; 14: 0:03; 15: 0:03; 16: 0:03; 17: 0:03; 18: 0:03; 19: 2:38; 20: 2:38; 21: 2:48; 22: 1:58; 23: 1:23; 24: 0:03 | t at Max V [70-50 gfp:485,528]
|  | 10: 0:01; 11: 0:01; 12: 0:01; 14: 0:01; 15: 0:01; 16: 0:01; 17: 0:01; 18: 0:01; 19: 1:42; 20: 1:46; 21: 1:36; 22: 1:13; 23: 1:00; 24: 0:01 | Lagtime [70-50 gfp:485,528]
|  | 10: -4200; 11: -7200; 12: -4800; 14: -4800; 15: -3800; 16: -5200; 17: -5800; 18: 3800; 19: 6800; 20: 9600; 21: 5000; 22: 15800; 23: 10000; 24: -3200 | Max V [70-50 gfp:485,528[2]]
R-Squared [70-50 gfp:485,528[2]] | bar: 10 to 12; 14 to 24
|  | 10: 0:08; 11: 0:03; 12: 0:03; 14: 0:03; 15: 0:03; 16: 0:03; 17: 0:03; 18: 1:03; 19: 2:23; 20: 2:58; 21: 2:58; 22: 1:58; 23: 2:43; 24: 0:03 | t at Max V [70-50 gfp:485,528[2]]
|  | 10: 0:02; 11: 0:01; 12: 0:01; 14: 0:01; 15: 0:01; 16: 0:01; 17: 0:01; 18: 1:06; 19: 2:04; 20: 2:12; 21: 2:01; 22: 1:08; 23: 1:42; 24: 0:01 | Lagtime [70-50 gfp:485,528[2]]
| D | [24 empty] | Max V [100-75 gfp:485,528]
R-Squared [100-75 gfp:485,528]
t at Max V [100-75 gfp:485,528]
Lagtime [100-75 gfp:485,528]
Max V [100-75 gfp:485,528[2]]
R-Squared [100-75 gfp:485,528[2]]
t at Max V [100-75 gfp:485,528[2]]
Lagtime [100-75 gfp:485,528[2]]
Max V [70-50 gfp:485,528]
R-Squared [70-50 gfp:485,528]
t at Max V [70-50 gfp:485,528]
Lagtime [70-50 gfp:485,528]
Max V [70-50 gfp:485,528[2]]
R-Squared [70-50 gfp:485,528[2]]
t at Max V [70-50 gfp:485,528[2]]
Lagtime [70-50 gfp:485,528[2]]
| E | [24 empty] | Max V [100-75 gfp:485,528]
R-Squared [100-75 gfp:485,528]
t at Max V [100-75 gfp:485,528]
Lagtime [100-75 gfp:485,528]
Max V [100-75 gfp:485,528[2]]
R-Squared [100-75 gfp:485,528[2]]
t at Max V [100-75 gfp:485,528[2]]
Lagtime [100-75 gfp:485,528[2]]
Max V [70-50 gfp:485,528]
R-Squared [70-50 gfp:485,528]
t at Max V [70-50 gfp:485,528]
Lagtime [70-50 gfp:485,528]
Max V [70-50 gfp:485,528[2]]
R-Squared [70-50 gfp:485,528[2]]
t at Max V [70-50 gfp:485,528[2]]
Lagtime [70-50 gfp:485,528[2]]
| F | [24 empty] | Max V [100-75 gfp:485,528]
R-Squared [100-75 gfp:485,528]
t at Max V [100-75 gfp:485,528]
Lagtime [100-75 gfp:485,528]
Max V [100-75 gfp:485,528[2]]
R-Squared [100-75 gfp:485,528[2]]
t at Max V [100-75 gfp:485,528[2]]
Lagtime [100-75 gfp:485,528[2]]
Max V [70-50 gfp:485,528]
R-Squared [70-50 gfp:485,528]
t at Max V [70-50 gfp:485,528]
Lagtime [70-50 gfp:485,528]
Max V [70-50 gfp:485,528[2]]
R-Squared [70-50 gfp:485,528[2]]
t at Max V [70-50 gfp:485,528[2]]
Lagtime [70-50 gfp:485,528[2]]
| G | [24 empty] | Max V [100-75 gfp:485,528]
R-Squared [100-75 gfp:485,528]
t at Max V [100-75 gfp:485,528]
Lagtime [100-75 gfp:485,528]
Max V [100-75 gfp:485,528[2]]
R-Squared [100-75 gfp:485,528[2]]
t at Max V [100-75 gfp:485,528[2]]
Lagtime [100-75 gfp:485,528[2]]
Max V [70-50 gfp:485,528]
R-Squared [70-50 gfp:485,528]
t at Max V [70-50 gfp:485,528]
Lagtime [70-50 gfp:485,528]
Max V [70-50 gfp:485,528[2]]
R-Squared [70-50 gfp:485,528[2]]
t at Max V [70-50 gfp:485,528[2]]
Lagtime [70-50 gfp:485,528[2]]
| H | [24 empty] | Max V [100-75 gfp:485,528]
R-Squared [100-75 gfp:485,528]
t at Max V [100-75 gfp:485,528]
Lagtime [100-75 gfp:485,528]
Max V [100-75 gfp:485,528[2]]
R-Squared [100-75 gfp:485,528[2]]
t at Max V [100-75 gfp:485,528[2]]
Lagtime [100-75 gfp:485,528[2]]
Max V [70-50 gfp:485,528]
R-Squared [70-50 gfp:485,528]
t at Max V [70-50 gfp:485,528]
Lagtime [70-50 gfp:485,528]
Max V [70-50 gfp:485,528[2]]
R-Squared [70-50 gfp:485,528[2]]
t at Max V [70-50 gfp:485,528[2]]
Lagtime [70-50 gfp:485,528[2]]
| I | [24 empty] | Max V [100-75 gfp:485,528]
R-Squared [100-75 gfp:485,528]
t at Max V [100-75 gfp:485,528]
Lagtime [100-75 gfp:485,528]
Max V [100-75 gfp:485,528[2]]
R-Squared [100-75 gfp:485,528[2]]
t at Max V [100-75 gfp:485,528[2]]
Lagtime [100-75 gfp:485,528[2]]
Max V [70-50 gfp:485,528]
R-Squared [70-50 gfp:485,528]
t at Max V [70-50 gfp:485,528]
Lagtime [70-50 gfp:485,528]
Max V [70-50 gfp:485,528[2]]
R-Squared [70-50 gfp:485,528[2]]
t at Max V [70-50 gfp:485,528[2]]
Lagtime [70-50 gfp:485,528[2]]
| J | [24 empty] | Max V [100-75 gfp:485,528]
R-Squared [100-75 gfp:485,528]
t at Max V [100-75 gfp:485,528]
Lagtime [100-75 gfp:485,528]
Max V [100-75 gfp:485,528[2]]
R-Squared [100-75 gfp:485,528[2]]
t at Max V [100-75 gfp:485,528[2]]
Lagtime [100-75 gfp:485,528[2]]
Max V [70-50 gfp:485,528]
R-Squared [70-50 gfp:485,528]
t at Max V [70-50 gfp:485,528]
Lagtime [70-50 gfp:485,528]
Max V [70-50 gfp:485,528[2]]
R-Squared [70-50 gfp:485,528[2]]
t at Max V [70-50 gfp:485,528[2]]
Lagtime [70-50 gfp:485,528[2]]
| K | [24 empty] | Max V [100-75 gfp:485,528]
R-Squared [100-75 gfp:485,528]
t at Max V [100-75 gfp:485,528]
Lagtime [100-75 gfp:485,528]
Max V [100-75 gfp:485,528[2]]
R-Squared [100-75 gfp:485,528[2]]
t at Max V [100-75 gfp:485,528[2]]
Lagtime [100-75 gfp:485,528[2]]
Max V [70-50 gfp:485,528]
R-Squared [70-50 gfp:485,528]
t at Max V [70-50 gfp:485,528]
Lagtime [70-50 gfp:485,528]
Max V [70-50 gfp:485,528[2]]
R-Squared [70-50 gfp:485,528[2]]
t at Max V [70-50 gfp:485,528[2]]
Lagtime [70-50 gfp:485,528[2]]
| L | [24 empty] | Max V [100-75 gfp:485,528]
R-Squared [100-75 gfp:485,528]
t at Max V [100-75 gfp:485,528]
Lagtime [100-75 gfp:485,528]
Max V [100-75 gfp:485,528[2]]
R-Squared [100-75 gfp:485,528[2]]
t at Max V [100-75 gfp:485,528[2]]
Lagtime [100-75 gfp:485,528[2]]
Max V [70-50 gfp:485,528]
R-Squared [70-50 gfp:485,528]
t at Max V [70-50 gfp:485,528]
Lagtime [70-50 gfp:485,528]
Max V [70-50 gfp:485,528[2]]
R-Squared [70-50 gfp:485,528[2]]
t at Max V [70-50 gfp:485,528[2]]
Lagtime [70-50 gfp:485,528[2]]
| M | [24 empty] | Max V [100-75 gfp:485,528]
R-Squared [100-75 gfp:485,528]
t at Max V [100-75 gfp:485,528]
Lagtime [100-75 gfp:485,528]
Max V [100-75 gfp:485,528[2]]
R-Squared [100-75 gfp:485,528[2]]
t at Max V [100-75 gfp:485,528[2]]
Lagtime [100-75 gfp:485,528[2]]
Max V [70-50 gfp:485,528]
R-Squared [70-50 gfp:485,528]
t at Max V [70-50 gfp:485,528]
Lagtime [70-50 gfp:485,528]
Max V [70-50 gfp:485,528[2]]
R-Squared [70-50 gfp:485,528[2]]
t at Max V [70-50 gfp:485,528[2]]
Lagtime [70-50 gfp:485,528[2]]
| N | [24 empty] | Max V [100-75 gfp:485,528]
R-Squared [100-75 gfp:485,528]
t at Max V [100-75 gfp:485,528]
Lagtime [100-75 gfp:485,528]
Max V [100-75 gfp:485,528[2]]
R-Squared [100-75 gfp:485,528[2]]
t at Max V [100-75 gfp:485,528[2]]
Lagtime [100-75 gfp:485,528[2]]
Max V [70-50 gfp:485,528]
R-Squared [70-50 gfp:485,528]
t at Max V [70-50 gfp:485,528]
Lagtime [70-50 gfp:485,528]
Max V [70-50 gfp:485,528[2]]
R-Squared [70-50 gfp:485,528[2]]
t at Max V [70-50 gfp:485,528[2]]
Lagtime [70-50 gfp:485,528[2]]
| O | [24 empty] | Max V [100-75 gfp:485,528]
R-Squared [100-75 gfp:485,528]
t at Max V [100-75 gfp:485,528]
Lagtime [100-75 gfp:485,528]
Max V [100-75 gfp:485,528[2]]
R-Squared [100-75 gfp:485,528[2]]
t at Max V [100-75 gfp:485,528[2]]
Lagtime [100-75 gfp:485,528[2]]
Max V [70-50 gfp:485,528]
R-Squared [70-50 gfp:485,528]
t at Max V [70-50 gfp:485,528]
Lagtime [70-50 gfp:485,528]
Max V [70-50 gfp:485,528[2]]
R-Squared [70-50 gfp:485,528[2]]
t at Max V [70-50 gfp:485,528[2]]
Lagtime [70-50 gfp:485,528[2]]
| P | [24 empty] | Max V [100-75 gfp:485,528]
R-Squared [100-75 gfp:485,528]
t at Max V [100-75 gfp:485,528]
Lagtime [100-75 gfp:485,528]
Max V [100-75 gfp:485,528[2]]
R-Squared [100-75 gfp:485,528[2]]
t at Max V [100-75 gfp:485,528[2]]
Lagtime [100-75 gfp:485,528[2]]
Max V [70-50 gfp:485,528]
R-Squared [70-50 gfp:485,528]
t at Max V [70-50 gfp:485,528]
Lagtime [70-50 gfp:485,528]
Max V [70-50 gfp:485,528[2]]
R-Squared [70-50 gfp:485,528[2]]
t at Max V [70-50 gfp:485,528[2]]
Lagtime [70-50 gfp:485,528[2]]